## Slide 1
Sensing with a trapped-ion mechanical oscillator
Notes: Drumhead modes of 2D crystal in Penning trap analogous to cavity optomechanics experiments. With cavity – oscillator pairing, motion of mechanical oscillator shifts frequency of cavity, which is read out. For us, ion motion is read out via spin state. Spins are coupled to mechanical motion of crystal with a spin-dependent optical dipole force. The motion effectively shifts the qubit frequency, which in the bloch sphere rep looks like a rotation. The majority of this work is done off-resonance – away from the COM mode – and with a random relative phase between the ODF beatnote and the applied drive – phase incoherently. With near term improvements, we plan to revisit this work on-resonance and phase coherently.

## Slide 2: What’s it good for?
Pursuing protocols to explore force and amplitude sensing below the standard quantum limit
  Exploring quantum limits – projection noise
Quantum-ness of mesoscopic objects – effects of decoherence from quantum to classical
Optomechanics and quantum information
  Transduction: ion qubit mechanical oscillator
Force and electric field sensing
  WISPS (hidden photons, axions) and dark matter
Notes: Already projection noise limited with off-resonance experiment
Our crystal of ions looks and behaves much like the nanomechanical membranes used in some optomechanics experiments. Such objects offer chance to study quantum mechanics at the meso/macroscopic level. We can probe the zero-point fluctuations of our mechanical oscillator. Perhaps this affords study of transition from quantum microscopic regime to classical macroscopic world.
Related, much work in the optomechanics community concerns transducing signals and linking disparate quantum info systems through mechanical oscillators.
Finally, we’re very sensitive to electric fields and forces – so maybe that’s interesting in it’s own right. Potential for joining search for dark matter by detecting weak oscillating electric fields etc.

## Slide 3: Precession due to axial oscillation
Phase coherent:
, where , 40 yN
Apply calibrated voltage to endcap with frequency and amplitude :
Equivalent vacuum optomechanical coupling strength: (2 nm) = 710
Qubit frequency shift:
Precession angle:
Phase incoherent: random

## Slide 4: -pulse CPMG sequences
CPMG sequences (no ODF) with 20 ms total interaction time
ODF Phase jumps:
ODF
ODF
ODF
ODF
Probability of measuring spin up:
Notes: The phase jumps are chosen to cancel the cos term in the H. For µ/2π = (2n + 1)/(2(T + t_π)), the phase jump is pi and the spin precession is added coherently through the sequence . Can spin-echo away homogenous magnetic field flucs

## Slide 5: Modes and low frequency signal
(%)
ODF Difference Frequency (kHz)
800 us ODF interaction time
ODF Difference Frequency (kHz)
(%)
ODF Difference Frequency (kHz)
(%)
4 ms ODF interaction time
ODF Difference Frequency (kHz)
(%)
800 us ODF interaction time w/ phase jump
Notes: measuring spin precession induced by thermal fluctuations with a single pi-pulse sequence (top) and 1 pi-pulse comg (left and lower center)

## Slide 6: Canceling low frequency oscillations
For , and spin precession is coherently accumulated
Can ignore second term when .
At low frequencies , can still cancel by setting:
Notes: The ODF couples the spin and motional degrees of freedom through… If U/mu is small, can make simplification. However, as will be discussed, it is also possible to choose the phases of the ODF to cancel the cos term. Like the cavity-mechanical oscillator, due to the spin-motion coupling induced by the ODF, qubit frequency sees a shift – hence precession. The qubit frequency shift evaluated at Z_c = 2 nm (zero point fluc of COM mode for 100 ions) is the equivalent of the vacuum optomechanical coupling strength. To get the prob of spin up, have to average over cos of random phase – result is J0

## Slide 7: Background characterized by spontaneous emission and magnetic field fluctuations

## Slide 8
Spin dephasing vs measurement strength
Our scheme is second order sensitive to i.e. we measure
`
pm
)

## Slide 9
pm
Lineshape is well understood

## Slide 10: Limits to sensitivity / signal-to-noise
50 pm – smallest detected amplitude
Projection noise limit
SNR limited due to noise from fluctuations in
Projection noise limit
Notes: Projection noise dominates at small Z_c. Fundamental limit due to spontaneous emission (xi – ratio of gamma to U)

## Slide 11: Off-resonant, incoherent amplitude sensing
50 pm (with 16 s of integration)– factor of 40 smaller than ground state wavefunction size (2nm)
  0.46 mV/m
  73 yN/ion
500 pm in a single measurement
Long averaging time sensitivity of
Projection noise limited at small
Fundamental limit due to spontaneous emission
Can increase by a factor of 2 with sub-Doppler cooling

## Slide 12: On resonance
Enhance force and electric field sensitivities by Q of the COM mode
Exploit spins
  Spin-squeezed states
Thermal fluctuations
  Understand system off-resonance, away from drumhead modes
  Possible to cancel

## Slide 13: On resonance with thermal fluctuations
ODF
ODF
Drive
Phase incoherent
B. C. Sawyer, J. W. Britton, and J. J. Bollinger, Physical Review A 89, 033408 (2014)
Thermal fluctuations
Displacement on top of thermal fluctuations
ODF
ODF
Notes: can measure displacement with this straight forward extension of the demonstrated off-resonant sensing, but looking for signal that sits on top of thermal fluctuations.

## Slide 14
On resonance sensing scheme
If thermal fluctuations are coherent through the sequence, this scheme cancels them
Notes: possible to cancel out thermal fluctuations with separated ODF's, but thermal fluctuations need to be coherent throughout the sequence.

## Slide 15
On-resonance, background not understood – sensitivity limited
7.4 yN/ion, 45.5 uV/m, 25 nm
0.74 yN/ion, 4.5 uV/m

## Slide 16: Predictions for on-resonance, phase coherent sensing
74 pm in a single measurement
20 pm
  7 nV/m
  yN / ion
SNR goes like
Spin-squeezing can improve SNR by factor of 2
1 nV/m is the electric field of an electron at 1 m

## Slide 17: Search for hidden photons as dark matter
Hidden photons are theorized to interact with ‘regular’ photons through a kinetic mixing term , producing an electric field of amplitude E
Unfortunately, it seems shielding effects may severely reduce our sensitivity to these electric fields