## Slide 1
Sensing with a trapped-ion mechanical oscillator
Notes: Drumhead modes of 2D crystal in Penning trap analogous to cavity optomechanics experiments. With cavity – oscillator pairing, motion of mechanical oscillator shifts frequency of cavity, which is read out.

## Slide 2: Precession due to axial oscillation
With oscillation of frequency and amplitude :
, where
For
Qubit frequency shift:
Precession angle:
Notes: Like the cavity-mechanical oscillator, due to the spin-motion coupling induced by the ODF, qubit frequency sees a shift – hence precession. The qubit frequency shift evaluated at Z_c = 2 nm (zero point fluc of COM mode for 100 ions) is the equivalent of the vacuum optomechanical coupling strength

## Slide 3: Modes and low frequency signal

## Slide 4: -pulse CPMG sequences
Cool
Ry
ODF
Detect
Ry𝜽
ODF
ODF
Using more pi pulses for same total ODF interaction time decreases dephasing due to magnetic field fluctuations without accumulating errors from microwave pulses – for up to 20 pi pulses
CPMG sequences (no ODF) with 20 ms total interaction time
ODF Phase jumps:
Probability of measuring spin up:
ODF
ODF
ODF
ODF

## Slide 5
Lineshape is well understood
Z_c = 500 pm
F/F_0M = 0.2

## Slide 6
Spin dephasing vs measurement strength
Our scheme is second order sensitive to Z_c ie we measure Z_c^2

## Slide 7: Limits to sensitivity / signal-to-noise
50 pm – smallest detected amplitude
Projection noise limit
Notes: Projection noise dominates at small Z_c. Fundamental limit due to spontaneous emission (xi)

## Slide 8: Off-resonant, incoherent amplitude sensing
50 pm (with 16 s of integration)– factor of 40 smaller than ground state wavefunction size (2nm)
  0.46 mV/m
  73 yN/ion
500 pm in a single measurement
Long averaging time sensitivity of
Projection noise limited at small Z_c
Fundamental limit due to spontaneous emission (1/xi2)
Can increase Z2/Z_c2 by a factor of 2 with sub-Doppler cooling

## Slide 9: On resonance with thermal fluctuations
ODF
ODF
Drive
Split histogram is result of phase incoherence between drive and ODF. If the phase relation was set, this would look like a coherent rotation. Use spins to read out coherent displacement.
Cool
Ry
ODF
Detect
Ry𝜽
ODF
Notes: can measure displacement with this straight forward extension of the off-resonant sensing that you demonstrated, but one will be looking for a signal that sits on top of thermal fluctuations.

## Slide 10
On resonance sensing scheme
If thermal fluctuations are coherent through the sequence, this scheme cancels them
Notes: possible to cancel out thermal fluctuations with separated ODF's, but thermal fluctuations need to be coherent throughout the sequence.

## Slide 11
On-resonance, background not understood – sensitivity limited
0.74 yN/ion, 4.5 uV/m
7.4 yN/ion, 45.5 uV/m

## Slide 12: Predictions for on-resonance, phase coherent sensing
74 pm in a single measurement
20 pm in 5 ms
  7 nV/m
  10^-3 yN / ion
SNR goes like 1/xi
Spin-squeezing can improve SNR by factor of 2

## Slide 13: WISPS and electric field sensing